## Cover Page
ESDS Final Report v3.0
WSHFC - Low Income Housing Tax Credit Program
Tax Credit Number:
Project Name:
Project Address:
Organization Name:
Evergreen Coordinator:
Evergreen Coordinator phone:
Evergreen Coordinator email:
Project Type: | Select…
If the project includes new construction and rehab, please write a brief description of the scope:
Location: | Select…
Number of units:
number of occupants & population type:
# of buildings & # of stories
Residential square footage:
Rehab projects answer the following:
Year the building was built:
Space heating type to be replaced:
Water heating type to be replaced:
Window U Values (if known):
Wall, Attic, floor insulation values (if known):
Note on A12: Reminder: If the project is both new construction and rehab you will need to fill out two EPP forms and achieve the required minimum points for both. For definitions, see the Glossary in the ESDS which begins on page 103.
Note on A14: For definitions of urban and rural, see the Glossary in the ESDS which begins on page 103.
Note on A15: (including manager's unit if applicable)
Note on A16: example: 10 units for individuals with developmental disabilities, 5 units for low-income families, 1 restricted manager's unit.

## Key (hidden)
Project Type | Select…
New Construction
Moderate Rehab
Substantial Rehab
New Construction and Moderate Rehab
New Construction and Substantial Rehab
Location | Select…
Urban
Rural

## New Construction
ESDS v3.0 Criteria | Method used to Satisfy Criterion | Instructions | Points
1.1a Integrative Process & Green Development Plan |  | (Mandatory) Attach the Green Development Plan
1.1b Integrative Process- Advanced Tools |  | (Up to 10) State the Option(s) chosen. In addition: • Option #1- Attach energy and water modeling documentation and a narrative explaining how these services informed decisions about design, construction and post-occupancy. • Option #2- Attach the life cycle cost analysis. Use the LCCA tool provided on ESDS websites. In addition, include a narrative detailing how the design team incorporated the use of the tool into their process, how, or if, design decisions were influenced by the process of using the tool, and suggestions for enhancements to the tool. • Option #3- State that a 25-year CNA was provided with your funding application. If not, provide the report.
1.2 Universal Design |  | (up to 3) State which option was incorporated and list the features
1.3a Performance Verification |  | (Mandatory) State: (1) Which ESDS criterion required Performance Verification. (2) Construction documents include the Performance Verification requirements. (3) The installer has provided written verification that the systems operate as required, available on the jobsite.
1.3b Commissioning |  | (up to 12) State: (1) Which applicable systems were included in the commissioning plan. (2) That a final commissioning report is available for inspection upon request. (3) The architect and MEP consultants have developed a Basis of Design (BOD) that meets the Owner’s Project Requirements (at a minimum, the performance requirements established in 1.1); (4) Commissioning requirements have beenincorporated into the construction documents.
1.4 Socially Sustainable Living Patterns |  | (up to 6) Option #1: attach a description of how the project design team intentionally developed spaces or features that help residents develop an inclusive sense of community and cultivate meaningful support networks. Describe the plan that on-site staff will follow to encourage residents to use the spaces as intended. Option #2: attach a description for how the resident population will participate in discussions regarding the sustainability of the project. Describe how the advisory board or governance structure will be formed, who will be responsible for managing the process, and how the resident population might participate.
2.1 Sensitive Site Protection |  | (Mandatory) Attach documentation from the local jurisdiction stating the zoning for the property, identification of any known critical areas or resource lands within 300 feet and any resulting development restrictions.
2.2 Connections to Existing Development & Infrastructure |  | (Mandatory for Urban, 2 points for Rural) Attach a clear and detailed Site & Vicinity Map with explanations. Clearly label and indicate on the map the areas specific to this criterion.
2.3 Compact Development |  | (Mandatory) Attach the architect’s density calculation and statement of correctness.
2.4 Maximizing Density |  | (5 points) Attach the architect’s density calculation and statement of correctness.
2.5 Access to Services & Public Transportation |  | (Mandatory and option for 5 points) State which option(s) chosen. Option #1: Attach a context map demonstrating that the center of the site is within the required walk distances of the required number of services. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information. Option #2: Attach a context map to demonstrate that the center of the site is within the required distance of transit options. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information.
2.6 Preservation of & Access to Open Space |  | (Mandatory) State the option chosen and how the design meets the requirement. Attach a clear and detailed Site & Vicinity Map and indicate on the map the areas designated as open space for residents. Open space does not include streets, roadways, or tenant private outdoor areas, or areas inaccessible to residents.
2.7a Walkable neighborhoods-sidewalks & pathways |  | (Mandatory for Urban only) Attach a site map clearly illustrating the existing and proposed sidewalks and all-weather pathways and where they lead to.
2.7b Walkable neighborhoods-connections to surrounding neighborhood |  | (Rural & Tribal projects only, 3-5 points) State how many separate connections the project provides. Attach a site map demonstrating at least three separate connections to sidewalks or all-weather pathways in surrounding neighborhoods.
2.8 Improving Connectivity to the Community |  | (2 points) State which two measures have been used and describe the implementation plan. If choosing car-sharing services or bicycle racks/storage, attach a site map identifying the space that will dedicated for the amenities.
2.9 Greyfield, Brownfield or Adaptive Reuse Site |  | (5 points) Provide a description and explanation that confirms the type of site.
2.10 Access to Fresh, Local Foods |  | (3 points) State which option the project provides. Attach a detailed plan of how the requirements have been met. If selecting Options 1a or 1b, attach a site map identifying the growing space.
3.1 Environmental Remediation |  | (Mandatory) State the conclusion of the ESA Phase 1.
3.2 Erosion & Sedimentation Control |  | (Mandatory) State which BMP or local controls have been incorporated into the construction and site development plans and contracts. The actual erosion measures that have been specifically be used on the site.
3.3a Landscaping |  | (Mandatory) Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 50% or more of the landscaped area as native and/or adaptive species.
3.3b Landscaping |  | (5 points) Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 100% or more of the landscaped area as native and/or adaptive species.
3.3c Landscaping-Significant Trees |  | (up to 5 points ) State the number of trees and DBH of each. State that the project did not build within the drip line of the significant trees. Attach the arborist report which evaluates each significant tree’s life expectancy, health, future maintenance needs and safety. Attach a brief explanation regarding the property maintenance plan for the significant trees, given the arborist report conclusions. Attach a landscape plan showing existing significant trees, which trees are being preserved, and their relation to the building(s).
3.4 Efficient Irrigation |  | (Mandatory) State that drip and/or bubbler irrigation system has been used for all landscape planting beds and trees. State that turf and each type of bedding area has been separately zoned based on watering needs with a programmed zone manifold and/or timer/controller. State that a controller designed to eliminate irrigation overwatering has been installed.
3.5 Surface Water Management |  | (up to 6 points) Attach the precipitation data location used, the appropriate rainfall event size, a site plan showing the total generating surfaces and calculated area for the project, and describe design features that have been implemented to meet the requirements, with an affidavit affirming that the design is sized to accommodate the target rainfall event - from the qualified design professional responsible for the design calculations.
3.6 Storm Drain Labels |  | (Mandatory) State that you have labelled all storm drains and inlets.
4.1a Water-Conserving Features |  | (Mandatory) State the flow rates, WaterSense, and MaP performance for applicable fixtures that have been installed. State that a minimum of 15% of units have completed performance verification according to the requirements in ESDS 1.3a. Toilets – 1.28 GPF (gallons per flush) or less. WaterSense labeled with MaP test performance at minimum 500g, Urinals- 0.5 gpf or less, WaterSense labeled, Showerheads – 2.0 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1.5 GPM or less, WaterSense labeled, Kitchen faucets – 2.0 GPM or less
4.1b Advanced Water-Conserving Features |  | (up to 6 points) State the flow rates, WaterSense, and MaP performance for applicable fixtures that have been installed. State that a minimum of 15% of units have completed performance verification according to the requirements in ESDS 1.3a. State that the project complies with ESDS 4.4. Toilets – 1.1 GPF (gallons per flush) or less. or a toilet with dual flush, one of the options being less than 1 GPF, 500gWaterSense labeled, Showerheads – 1.75 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1 GPM or less, WaterSense labeled, Kitchen faucets – 1.75 GPM or less
4.2 Water Metering |  | (New Construction 2, Rehab 4) Attach a description of how sub-meter data will be tracked, who will be responsible for monitoring it, and how the data will be used (direct billing or back-charging residents for water/sewer costs, providing consumption feedback for conservation assistance, leak detection and isolation, etc.) For rehab only, if metering each dwelling unit is not feasible, attach an optimal measuring proposal.
4.3 Water Reuse |  | (up to 12 points) Option #1: State how the design meets the requirement; how these details have been communicated to the plumbing contractor; and how they have been verified as compliant at construction. Option #2: State the percentage of the project’s water needs that have been supplied by rainwater and/or greywater. Also, attach an explanation of how the project’s total water need was determined and describe the design features (including cistern sizing calculation) that have been implemented to achieve the stated percentage.
4.4 Efficient Plumbing Layout & Design |  | (7 points) State how the design meets the requirement; how the details were communicated to the plumbing contractor: how proper installation has been confirmed.
5.1a Building Performance Standard - New Construction | N/A | (Mandatory) For Single Family Homes, duplexes, townhomes or multifamily buildings three stories or less: State the additional credit chosen from the 2015 WSEC Table R406.2, Energy Credits. OR Attach the 2015 WSEC section R405.3 Performance-based compliance cover sheet demonstrating an additional 7% reduction in energy use compared to code. Multifamily buildings greater than three stories: State the additional credit chosen from the 2015 WSEC C406—Additional efficiency package options. OR, Attach the 2015 WSEC section C407.3—Performance-based compliance cover sheet to demonstrate and additional 4 % reduction in energy use compared to the code.
5.1b Building Performance Standard -Rehab | Rehab Only | Rehab Only
5.2a Additional Reduction in Energy Use - New Construction | N/A | (5-25 points) For the prescriptive energy credits approach, attach documentation showing the energy credits used to meet code and the added energy credits to achieve additional energy savings. For the performance based approach, use the analysis methodology required by code. Demonstrate that the proposed design will provide additional % reduction in energy use compared to code and ESDS 5a.
5.2b Additional Reduction in Energy Use - Rehab | Rehab Only | Rehab Only
5.3 Shading for South Facing Windows |  | (4 points) Attach documentation that shading devices on the building provides the described solar access and shading. Include an illustration demonstrating shading at the required date and times.
5.4 EnergyStar Appliances |  | (Mandatory) State that all clothes washers, dishwashers & refrigerators are Energy Star. Do not send in product literature or spec sheets.
5.5 Central Laundry |  | (3 points) State that the project provides ENERGY STAR-labeled centralized laundry facilities and has not installed in-unit washers or dryers or hook-ups.
5.6 Efficient Lighting - Interior Units |  | (Mandatory) State that 90% of lighting has been fitted with LED luminaires or lamps. Do not send in product literature or spec sheets with the EPP.
5.7a Electricity Meter |  | (Mandatory) State that individual or a sub-metered electric meter has been installed for each individual unit.
5.7b Electricity Meter | Rehab Only | Rehab Only
5.8a Renewable Energy | Rehab Only | Rehab Only
5.8b Photovoltaic/Solar Hot Water Ready |  | (1 point) Explain the plan including orientation, unobstructed exposure, conduit route and location of terminations. Attach the design and engineering analysis that establishes the parameters of the installation that demonstrate the following: Orient buildings to permit access to sunlight, design and include south facing architectural elements on the roof for PV, reserve unobstructed roof areas where panels can be placed, run conduit from the prospective PV location to a central panel, as part of the general electrical work, and do not install wire inside the conduit until the photovoltaic panels are installed.
5.8c Solar Water Heating | Rehab Only | Rehab Only
5.9 Domestic Water Heating |  | (Mandatory) State the type of fuel, tank size, energy factor, and standby loss as applicable. Do not send in product literature or spec sheets.
5.10 Domestic Water Heating | Rehab Only | Rehab Only
5.11 Performance Tested Building Air Sealing | Rehab Only | Rehab Only
5.12 Performance Tested Duct Sealing | Rehab Only | Rehab Only
5.13 Space Heating & Cooling Equipment Replacement | Rehab Only | Rehab Only
6.1 Low/No VOC Paints & Primers |  | (Mandatory) State that all interior paints and primers meet the standard.
6.2 Low/No VOC Adhesives & Sealants |  | (Mandatory) State that all interior adhesives comply with the most recent version of Rule 1168 of the South Coast Air Quality Management District.
6.3 Construction Waste Management |  | (up to 5 points) State the method chosen and that the construction waste plan was available on the job site specifying how reusable/recyclable materials were to be redirected from the landfill and where each material was to go.
6.4 Environmentally Preferable Materials |  | (up to 10 points) Attach the list of environmentally preferable materials that whave been used and note the specification requirement and/or the local production requirement.
6.5a Reduced Heat-Island Effect: Roofing |  | (2 points) State which option was chosen. Also attach roof map showing all roofing areas with the type of roof specified. Clearly label and indicate on the map the areas specific to this criterion.
6.5b Reduced Heat-Island Effect: Paving |  | (2 points) State the category of points chosen and provide performance testing documentation, calculations, and explanations. Attach a map of all paved areas showing the portion that will reduce the heat-island effect and the type of material.
6.6 Socially Sustainable Products |  | (up to 3 points) State the socially sustainable products that were used. Attach an explanation of each manufacturer, the product used in the project, and how they support a broader socially sustainable mission.
7.1 Composite Wood Products: No Added Urea Formaldehyde |  | (Mandatory) State that all particleboard, plywood, OSB, medium density fiberboard, cabinetry and any other applicable wood products contain no added urea-formaldehyde and/or will be compliant with CARB Phase 2.
7.2a Healthy Flooring Materials |  | (If providing floor coverings, Mandatory) State what floor coverings were used and where and that they meet the requirements of this criteria.
7.2b Healthy Flooring Materials |  | (6 points) State that in all rooms, carpet or flooring containing PVC or chlorine has not been installed.
7.3a Exhaust Fans-Bathroom |  | (Mandatory) State Energy Star bathroom fans including how they are controlled.
7.3b Exhaust Fans-Bathroom | N/A | Moderate Rehab only
7.4a Exhaust Fans-Kitchen |  | (Mandatory) State that Energy Star kitchen fans were installed and vented to the outside.
7.4b Exhaust Fans-Kitchen |  | (3 points) State that Energy Star kitchen fans were installed and vented to the outdoors.
7.5 Ventilation |  | (Mandatory) State that whole-house ventilation has been installed according to section 403 of the 2015 WSEC. State the size of fan, how the size was determined, the location, and how it is controlled.
7.6 Clothes Dryer Exhaust |  | (Mandatory) State that clothes dryers are exhausted to the exterior using rigid-type ductwork (from the connection point to the exterior exhaust), except for condensing and heat pump dryers, which must be plumbed to a drain.
7.7 Combustion Equipment |  | (Mandatory) State that there are direct power vented or combustion sealed fossil fuel fired water heaters when in the conditioned space.
7.8 Mold Prevention: Surfaces |  | (Mandatory) State that there are smooth, durable, cleanable, water-proof surfaces in all wet areas.
7.9 Mold Prevention: Tub & Shower Enclosures |  | (Mandatory) State which materials for tub and shower enclosures have been used.
7.10 Vapor Barrier Strategies |  | (Mandatory for foundation work) State the vapor barrier strategies that were used in the project.
7.11 Radon Mitigation |  | (Mandatory) State whether the project is in a high risk radon county. If so, continue with the following: For New Construction, state the list of radon mitigation measures that have been installed. For Rehabilitation, state that radon testing using the EPA protocols has been done and state type and duration of test. If radon testing shows 4 pCi/L or higher, state here the radon mitigation measures that were installed.
7.12 Water Drainage |  | (Mandatory) State that all water drainage measures listed in this criterion have been followed. Note: For rehab, all measures which apply to the scope of work are required.
7.13a Enhanced Building Envelope Design | only NC | (Mandatory) State that the building envelope design makes it possible to remove and replace windows without compromising the performance of the building envelope.
7.13b Enhanced Building Envelope Design | Not mod rehab | (up to 8 points for NC, up to 10 points for Substantial Rehab) State the option(s) chosen and how the objective has been achieved.
7.14 Garage Isolation |  | (Mandatory) State that there is a continuous air tight barrier between the living space and an attached garage, how it was achieved, and the number of placements of CO monitors as necessary.
7.15 Integrated Pest Management |  | (Mandatory) State that sealing of all penetrations was done and include what materials were used to prevent pest and rodent entry.
7.16 Lead-Safe Work Practices |  | (Mandatory) State the year when the buildings were constructed. For structures built before 1978, state that lead-safe work practices were followed. Also state that the contractor performing this was Renovation, Repair and Painting certified at a minimum.
7.17 Smoke-Free Building |  | (Mandatory) State that a smoke-free policy (including e-cigarettes) in all common and individual living areas, including decks and patios, in unit leases and within 25 feet of building entries or ventilation intakes (including operable windows) has been implemented and enforced. Also state that the lease language prohibits smoking in these locations and that it is a violation of the lease to smoke. Provide a copy of the lease in the on-site binder.
8.1a Building Maintenance Manual & Unit Turnover Plan |  | (Mandatory) State that a copy of the Building Maintenance Manual and the Unit Turnover Plan will be submitted to Commerce before the project is completed. State the estimated date of submittal. State the date the walk-through and orientation will be completed.
8.1b O&M Instructions for Maintenance Staff |  | (7 points) State that the Building Operations and Maintenance instructions will be permanently affixed to the building. State that the requirements regarding the location, instructions and walk-through will be followed.
8.2 Emergency Management Plan |  | (Mandatory) State that the Emergency Management Manual is available for inpection upon request.
8.3 Resident Manual & Orientation |  | (Mandatory) State that the Resident Manual is available for inpection upon request. State how the orientations will be completed with new tenants and the plan for orientation at turnover.
8.4 Project Data Collection |  | (8 points) State which option chosen. State that the property management staff will collect and monitor project performance data on energy, water, and, if possible, healthy living environments for a minimum of five years.
8.5 Educational Signage |  | (Mandatory) State that educational signage and/or educational material is provided onsite.
| TOTAL |  | 0
Note on D28: Must also achieve ESDS 4.4

## Rehab
ESDS v3.0 Criteria | Method used to Satisfy Criterion | Instructions | Points
1.1a Integrative Process & Green Development Plan |  | (Mandatory) Attach the Green Development Plan
1.1b Integrative Process- Advanced Tools |  | (Up to 10) State the Option(s) chosen. In addition: • Option #1- Attach energy and water modeling documentation and a narrative explaining how these services informed decisions about design, construction and post-occupancy. • Option #2- Attach the life cycle cost analysis. Use the LCCA tool provided on ESDS websites. In addition, include a narrative detailing how the design team incorporated the use of the tool into their process, how, or if, design decisions were influenced by the process of using the tool, and suggestions for enhancements to the tool. • Option #3- State that a 25-year CNA was provided with your funding application. If not, provide the report.
1.2 Universal Design |  | (up to 3) State which option was incorporated and list the features
1.3a Performance Verification |  | (Mandatory) State: (1) Which ESDS criterion required Performance Verification. (2) Construction documents include the Performance Verification requirements. (3) The installer will provide written verification that the systems operate as required, available on the jobsite. (4) Post installation, the Evergreen Coordinator, or independent consultant, will conduct performance testing & provide a summary report, available on the jobsite.
1.3b Commissioning |  | (up to 12) State: (1) Which applicable systems were included in the commissioning plan. (2) That a final commissioning report is available for inspection upon request. (3) The architect and MEP consultants have developed a Basis of Design (BOD) that meets the Owner’s Project Requirements (at a minimum, the performance requirements established in 1.1); (4) Commissioning requirements have beenincorporated into the construction documents.
1.4 Socially Sustainable Living Patterns |  | (up to 6) Option #1: attach a description of how the project design team intentionally developed spaces or features that help residents develop an inclusive sense of community and cultivate meaningful support networks. Describe the plan that on-site staff will follow to encourage residents to use the spaces as intended. Option #2: attach a description for how the resident population will participate in discussions regarding the sustainability of the project. Describe how the advisory board or governance structure will be formed, who will be responsible for managing the process, and how the resident population might participate.
2.1 Sensitive Site Protection |  | (Mandatory) Attach documentation from the local jurisdiction stating the zoning for the property, identification of any known critical areas or resource lands within 300 feet and any resulting development restrictions.
2.2 Connections to Existing Development & Infrastructure |  | (Mandatory for Urban, 2 points for Rural) Attach a clear and detailed Site & Vicinity Map with explanations. Clearly label and indicate on the map the areas specific to this criterion.
2.3 Compact Development |  | (Mandatory) Attach the architect’s density calculation and statement of correctness.
2.4 Maximizing Density |  | (5 points) Attach the architect’s density calculation and statement of correctness.
2.5 Access to Services & Public Transportation |  | (Mandatory and option for 5 points) State which option(s) chosen. Option #1: Attach a context map demonstrating that the center of the site is within the required walk distances of the required number of services. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information. Option #2: Attach a context map to demonstrate that the center of the site is within the required distance of transit options. Google Maps offers a function to demonstrate walk distance. On Google Maps, go to “Directions” and select “Walk Directions” to obtain this information.
2.6 Preservation of & Access to Open Space |  | (Mandatory) State the option chosen and how the design meets the requirement. Attach a clear and detailed Site & Vicinity Map and indicate on the map the areas designated as open space for residents. Open space does not include streets, roadways, or tenant private outdoor areas, or areas inaccessible to residents. .
2.7a Walkable neighborhoods-sidewalks & pathways |  | (Mandatory for Urban only) Attach a site map clearly illustrating the existing and proposed sidewalks and all-weather pathways and where they lead to.
2.7b Walkable neighborhoods-connections to surrounding neighborhood |  | (Rural & Tribal projects only, 3-5 points) State how many separate connections the project provides. Attach a site map demonstrating at least three separate connections to sidewalks or all-weather pathways in surrounding neighborhoods.
2.8 Improving Connectivity to the Community |  | (2 points) State which two measures have been used and describe the implementation plan. If choosing car-sharing services or bicycle racks/storage, attach a site map identifying the space that will dedicated for the amenities.
2.9 Greyfield, Brownfield or Adaptive Reuse Site |  | (5 points) Provide a description and explanation that confirms the type of site.
2.10 Access to Fresh, Local Foods |  | (3 points) State which option the project provides. Attach a detailed plan of how the requirements have been met. If selecting Options 1a or 1b, attach a site map identifying the growing space.
3.1 Environmental Remediation |  | (Mandatory) State the conclusion of the ESA Phase 1.
3.2 Erosion & Sedimentation Control |  | (Mandatory) State which BMP or local controls have been incorporated into the construction and site development plans and contracts. The actual erosion measures that have been specifically be used on the site.
3.3a Landscaping |  | (Mandatory) Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 50% or more of the landscaped area as native and/or adaptive species.
3.3b Landscaping |  | (5 points) Attach a landscape plan showing native plantings and their relation to the building(s). The map must clearly show 100% or more of the landscaped area as native and/or adaptive species.
3.3c Landscaping-Significant Trees |  | (up to 5 points ) State the number of trees and DBH of each. State that the project did not build within the drip line of the significant trees. Attach the arborist report which evaluates each significant tree’s life expectancy, health, future maintenance needs and safety. Attach a brief explanation regarding the property maintenance plan for the significant trees, given the arborist report conclusions. Attach a landscape plan showing existing significant trees, which trees are being preserved, and their relation to the building(s).
3.4 Efficient Irrigation |  | (Mandatory) State that drip and/or bubbler irrigation system has been used for all landscape planting beds and trees. State that turf and each type of bedding area has been separately zoned based on watering needs with a programmed zone manifold and/or timer/controller. State that a controller designed to eliminate irrigation overwatering has been installed.
3.5 Surface Water Management |  | (up to 6 points) Attach the precipitation data location used, the appropriate rainfall event size, a site plan showing the total generating surfaces and calculated area for the project, and describe design features that have been implemented to meet the requirements, with an affidavit affirming that the design is sized to accommodate the target rainfall event - from the qualified design professional responsible for the design calculations.
3.6 Storm Drain Labels |  | (Mandatory) State that you have labelled all storm drains and inlets.
4.1a Water-Conserving Features |  | (Mandatory) State the flow rates, WaterSense, and MaP performance for applicable fixtures that have been installed. State that a minimum of 15% of units have completed performance verification according to the requirements in ESDS 1.3a. Toilets – 1.28 GPF (gallons per flush) or less. WaterSense labeled with MaP test performance at minimum 500g, Urinals- 0.5 gpf or less, WaterSense labeled, Showerheads – 2.0 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1.5 GPM or less, WaterSense labeled, Kitchen faucets – 2.0 GPM or less
4.1b Advanced Water-Conserving Features |  | (up to 6 points) State the flow rates, WaterSense, and MaP performance for applicable fixtures that have been installed. State that a minimum of 15% of units have completed performance verification according to the requirements in ESDS 1.3a. State that the project complies with ESDS 4.4. Toilets – 1.1 GPF (gallons per flush) or less. or a toilet with dual flush, one of the options being less than 1 GPF, 500gWaterSense labeled, Showerheads – 1.75 GPM (gallons per minute) or less, WaterSense labeled, Bathroom faucets – 1 GPM or less, WaterSense labeled, Kitchen faucets – 1.75 GPM or less
4.2 Water Metering |  | (New Construction 2, Rehab 4) Attach a description of how sub-meter data will be tracked, who will be responsible for monitoring it, and how the data will be used (direct billing or back-charging residents for water/sewer costs, providing consumption feedback for conservation assistance, leak detection and isolation, etc.) For rehab only, if metering each dwelling unit is not feasible, attach an optimal measuring proposal.
4.3 Water Reuse |  | (up to 12 points) Option #1: State how the design meets the requirement; how these details have been communicated to the plumbing contractor; and how they have been verified as compliant at construction. Option #2: State the percentage of the project’s water needs that have been supplied by rainwater and/or greywater. Also, attach an explanation of how the project’s total water need was determined and describe the design features (including cistern sizing calculation) that have been implemented to achieve the stated percentage.
4.4 Efficient Plumbing Layout & Design |  | (7 points) State how the design meets the requirement; how the details were communicated to the plumbing contractor: how proper installation has been confirmed.
5.1a Building Performance Standard - New Construction | New Construction Only | New Construction only | N/A
5.1b Building Performance Standard -Rehab |  | (Mandatory) State the method chosen. For prescriptive, attach all finished insulation levels and U values of windows and list ventilation, air sealing, and duct sealing. For Simple Payback, attach the energy analysis on each of the mandatory prescriptive measures. For Savings-To-Investment, attach the TREAT analysis and a list of the WX measures.
5.2a Additional Reduction in Energy Use - New Construction | New Construction Only | New Construction Only | N/A
5.2b Additional Reduction in Energy Use - Rehab |  | (5 points) Attach the energy analysis identifying specific efficiency improvements meeting the 14-year simple payback that provide greater energy efficiency than the mandatory prescriptive measures. Note: If you choose this criterion, you cannot use ESDS 5.11, 5.12, 5.13.
5.3 Shading for South Facing Windows |  | (4 points) Attach documentation that shading devices on the building provides the described solar access and shading. Include an illustration demonstrating shading at the required date and times.
5.4 EnergyStar Appliances |  | (Mandatory) State that all clothes washers, dishwashers & refrigerators are Energy Star. Do not send in product literature or spec sheets.
5.5 Central Laundry |  | (3 points) State that the project provides ENERGY STAR-labeled centralized laundry facilities and has not installed in-unit washers or dryers or hook-ups.
5.6 Efficient Lighting - Interior Units |  | (Mandatory) State that 90% of lighting has been fitted with LED luminaires or lamps. Do not send in product literature or spec sheets with the EPP.
5.7a Electricity Meter | New Construction Only | New Construction Only
5.7b Electricity Meter |  | (2 points) State that you have installed individual or a sub-metered electric meter for each individual unit.
5.8aRenewable Energy |  | (up to 15 points) State the renewable energy source. For solar electric systems, attach the design demonstrating this requirement using the National Renewable Energy Laboratory calculator PVWATTs. Documentation noting solar access shall be included on the plans. For wind generation projects, attach designs documenting annual power generation based on the following factors: The wind turbine power curve; average annual wind speed at the site; frequency distribution of the wind speed at the site and height of the tower.
5.8b Photovoltaic/Solar Hot Water Ready |  | (1 point) Explain the plan including orientation, unobstructed exposure, conduit route and location of terminations. Attach the design and engineering analysis that establishes the parameters of the installation that demonstrate the following: Orient buildings to permit access to sunlight, design and include south facing architectural elements on the roof for PV, reserve unobstructed roof areas where panels can be placed, run conduit from the prospective PV location to a central panel, as part of the general electrical work, and do not install wire inside the conduit until the photovoltaic panels are installed.
5.8c Solar Water Heating |  | (up to 10 points) Attach the plan for the size and type of solar water heating system used, including: the mounted orientation, the annual performance, how it supplies the annual percentage of domestic hot water, how it was calculated, and SRCC product information.
5.9 Domestic Water Heating |  | (Mandatory) State the type of fuel, tank size, energy factor, and standby loss as applicable. Do not send in product literature or spec sheets.
5.10 Domestic Water Heating |  | (2-5 points) State the type of fuel, type of equipment, and energy rating. Do not send in product literature or spec sheets.
5.11 Performance Tested Building Air Sealing |  | (3 or 7 points) State the category of points chosen and provide performance testing documentation, calculations, and explanation.
5.12 Performance Tested Duct Sealing |  | (10 points) State that you have conducted the tests and provide the performance testing documentation, calculations, and explanation as soon as available.
5.13 Space Heating & Cooling Equipment Replacement |  | (2, 5, 7, points) State the option chosen, how ducts will be fastened and sealed, and what insulation level will be installed. State that only Energy Star equipment will be used or provide the Heat Pump Performance Testing as soon as available. Do not send in product literature or spec sheets.
6.1 Low/No VOC Paints & Primers |  | (Mandatory) State that all interior paints and primers meet the standard.
6.2 Low/No VOC Adhesives & Sealants |  | (Mandatory) State that all interior adhesives comply with the most recent version of Rule 1168 of the South Coast Air Quality Management District.
6.3 Construction Waste Management |  | (up to 5 points) State the method chosen and that the construction waste plan was available on the job site specifying how reusable/recyclable materials were to beredirected from the landfill and where each material was to go.
6.4 Environmentally Preferable Materials |  | (up to 10 points) Attach the list of environmentally preferable materials that whave been used and note the specification requirement and/or the local production requirement.
6.5a Reduced Heat-Island Effect: Roofing |  | (2 points) State which option was chosen. Also attach roof map showing all roofing areas with the type of roof specified. Clearly label and indicate on the map the areas specific to this criterion.
6.5b Reduced Heat-Island Effect: Paving |  | (2 points) State the category of points chosen and provide performance testing documentation, calculations, and explanations. Attach a map of all paved areas showing the portion that will reduce the heat-island effect and the type of material.
6.6 Socially Sustainable Products |  | (up to 3 points) State the socially sustainable products that were used. Attach an explanation of each manufacturer, the product used in the project, and how they support a broader socially sustainable mission.
7.1 Composite Wood Products: No Added Urea Formaldehyde |  | (Mandatory) State that all particleboard, plywood, OSB, medium density fiberboard, cabinetry and any other applicable wood products contain no added urea-formaldehyde and/or will be compliant with CARB Phase 2.
7.2a Healthy Flooring Materials |  | (If providing floor coverings, Mandatory) State what floor coverings were used and where and that they meet the requirements of this criteria.
7.2b Healthy Flooring Materials |  | (6 points) State that in all rooms, carpet or flooring containing PVC or chlorine has not been installed.
7.3a Exhaust Fans-Bathroom |  | (Mandatory) State Energy Star bathroom fans including how they are controlled.
7.3b Exhaust Fans-Bathroom |  | (3 points) State Energy Star bathroom fans including how they are controlled.
7.4a Exhaust Fans-Kitchen | N/A | New Construction only
7.4b Exhaust Fans-Kitchen |  | (3 points) State that Energy Star kitchen fans were installed and vented to the outdoors.
7.5 Ventilation |  | (Mandatory) State that whole-house ventilation has been installed according to section 403 of the 2015 WSEC. State the size of fan, how the size was determined, the location, and how it is controlled.
7.6 Clothes Dryer Exhaust |  | (Mandatory) State that clothes dryers are exhausted to the exterior using rigid-type ductwork (from the connection point to the exterior exhaust), except for condensing and heat pump dryers, which must be plumbed to a drain.
7.7 Combustion Equipment |  | (Mandatory) State that there are direct power vented or combustion sealed fossil fuel fired water heaters when in the conditioned space.
7.8 Mold Prevention: Surfaces |  | (Mandatory) State that there are smooth, durable, cleanable, water-proof surfaces in all wet areas.
7.9 Mold Prevention: Tub & Shower Enclosures |  | (Mandatory) State which materials for tub and shower enclosures have been used.
7.10 Vapor Barrier Strategies |  | (Mandatory for foundation work) State the vapor barrier strategies that were used in the project.
7.11 Radon Mitigation |  | (Mandatory) State whether the project is in a high risk radon county. If so, continue with the following: For New Construction, state the list of radon mitigation measures that have been installed. For Rehabilitation, state that radon testing using the EPA protocols has been done and state type and duration of test. If radon testing shows 4 pCi/L or higher, state here the radon mitigation measures that were installed.
7.12 Water Drainage |  | (Mandatory) State that all water drainage measures listed in this criterion have been followed. Note: For rehab, all measures which apply to the scope of work are required.
7.13a Enhanced Building Envelope Design | Only for New Construction | Only for New Construction
7.13b Enhanced Building Envelope Design | Only for New Construction & Substantial Rehab | Only for New Construction & Substantial Rehab
7.14 Garage Isolation |  | (Mandatory) State that there is a continuous air tight barrier between the living space and an attached garage, how it was achieved, and the number of placements of CO monitors as necessary.
7.15 Integrated Pest Management |  | (Mandatory) State that sealing of all penetrations was done and include what materials were used to prevent pest and rodent entry.
7.16 Lead-Safe Work Practices |  | (Mandatory) State the year when the buildings were constructed. For structures built before 1978, state that lead-safe work practices were followed. Also state that the contractor performing this was Renovation, Repair and Painting certified at a minimum.
7.17 Smoke-Free Building |  | (Mandatory) State that a smoke-free policy (including e-cigarettes) in all common and individual living areas, including decks and patios, in unit leases and within 25 feet of building entries or ventilation intakes (including operable windows) has been implemented and enforced. Also state that the lease language prohibits smoking in these locations and that it is a violation of the lease to smoke. Provide a copy of the lease in the on-site binder.
8.1a Building Maintenance Manual & Unit Turnover Plan |  | (Mandatory) State that a copy of the Building Maintenance Manual and the Unit Turnover Plan will be submitted to Commerce before the project is completed. State the estimated date of submittal. State the date the walk-through and orientation will be completed.
8.1b O&M Instructions for Maintenance Staff |  | (7 points) State that the Building Operations and Maintenance instructions will be permanently affixed to the building. State that the requirements regarding the location, instructions and walk-through will be followed.
8.2 Emergency Management Plan |  | (Mandatory) State that the Emergency Management Manual is available for inpection upon request.
8.3 Resident Manual & Orientation |  | (Mandatory) State that the Resident Manual is available for inpection upon request. State how the orientations will be completed with new tenants and the plan for orientation at turnover.
8.4 Project Data Collection |  | (8 points) State which option chosen. State that the property management staff will collect and monitor project performance data on energy, water, and, if possible, healthy living environments for a minimum of five years.
8.5 Educational Signage |  | (Mandatory) State that educational signage and/or educational material is provided onsite.
| TOTAL |  | 0
Note on D28: Must also achieve ESDS 4.4